**Updation for Multi alarm services**

1. Open ‘services’ and stop ‘wxAlarmService’.
2. Download the ‘Alarm Services’ folder inside ‘Alarm Services’ from git,

And replace that folder inside Alarm Services.

1. Open ‘pgadmin’ and right click on ‘hydromet’ database, then click on ‘Query tool’. Execute the following queries;
2. ALTER TABLE IF EXISTS public.station\_sensor\_type

ADD CONSTRAINT station\_sensor\_type\_pkey PRIMARY KEY (id);

1. ALTER TABLE IF EXISTS public."tblAlarm2Sensor"

ADD COLUMN "EmailSent" boolean DEFAULT false;

1. ALTER TABLE IF EXISTS public."tblAlarm2Sensor"

ADD CONSTRAINT primarykey PRIMARY KEY ("ID");

1. ALTER TABLE IF EXISTS public."tblAlarmType"

ADD CONSTRAINT "tblAlarmType\_pkey" PRIMARY KEY ("AlarmTypeId");

1. ALTER TABLE IF EXISTS public."tblAlarmType"

ADD CONSTRAINT "uk2\_AlarmType" UNIQUE ("AlarmType");

1. ALTER TABLE IF EXISTS public."tblAlarmType2User"

ADD COLUMN enabled boolean DEFAULT true;

1. ALTER TABLE "tblAlarm2Sensor"

ADD COLUMN "EmailSent" BOOLEAN DEFAULT FALSE ;